BOILER TECHNICAL GRAM
Date:
July 2, 2007
To:
Authorized Inspectors

Authorized Inspection Agencies

From:
Office of the Chief Inspector


TDLR, Compliance Division, Boiler Program

Subj:
Inspection Reports and Repair Requirements Forms
All boiler inspections conducted in accordance with Section 755.027(a) of the Texas Boiler Law and 65.20(a)/65.50(c) of the Texas Boiler Rules shall be reported in the approved format.  Inspection reports shall be completed correctly with all of the required information and submitted within the specified time frame as set forth in the Texas Boiler Law and Rules.

Once an Authorized Inspection Agency has accepted responsibility for the boiler and the inspection is complete, it is the responsibility of the Authorized Inspector to submit a complete and correct boiler inspection report to this department, as set forth above.  If the Authorized Inspection Agency’s responsibility for the boiler has terminated, the boiler inspection report, that was previously submitted, is still the responsibility of the Authorized Inspector who conducted the inspection. 

If the inspection reports are submitted with incorrect information, the Authorized Inspector is still responsible for the submitted reports and all corrections as required.

The term used for “inspection reports” also includes the “Repair Requirement” forms.  Initially submitted, the forms must have the correct information with a reference to the violation.  If inspection coverage has terminated, the Repair Requirement can be cleared by the agency that will conduct the boiler inspections, or by a Deputy Inspector from TDLR.

An inspection report, once conducted and signed, is an official and legal document stating the facts of the inspection on that date by the inspector.  It is not common practice at TDLR to change or verify an inspection report without full consideration on the facts from the Authorized Inspector as noted on that day.

Any questions regarding this Technical Gram should be addressed to Anthony Jones, Chief Inspector, George Solomon, Dan Hackworth or Luis Ponce, Inspection Specialists.

